Model Specification: Wheels n’ Heels Metro®

28-WH-4 Grade 50 Carbon Steel Galvanized Gratings

October 19, 2021

Specifier Notes: Architect or engineer should carefully review and edit this section to meet the requirements of the project and local building codes. Coordinate this section with other specification sections and the drawings and delete any unused “Specifier Notes” and options shown in red after editing.

This section covers Ohio Gratings, Inc.’s “Wheels n’ Heels Metro® 28-WH-4 Grade 50 Carbon Steel Galvanized Gratings.” Consult Ohio Gratings (www.ohiogratings.com) for assistance in editing this section for specific applications. Call 800.321.9800 or email info@ohiogratings.com with any questions.

SECTION 055300 - Metal Fabrications: Metal Gratings

Part 1: General

1.1 Section Includes

- Prefabricated, heavy-duty ADA compliant carbon steel bar gratings.

- Prefabricated support frames for gratings.

- Miscellaneous installation hardware and accessories.

1.2 Reference Standards

- ANSI A326.3-2017: American National Standard Test Method for Measuring Dynamic Coefficient of Friction of Hard Surface Flooring Materials.

- US Department of Justice: Americans with Disabilities Act (ADA) - 2010 Design Standards: Section 302.1: Slip-resistance, and 302.3: Openings.

- ASTM A-1011: Structural Grade 50 Steel Strip Hot-Rolled Carbon

- ASTM A-1011: CS Type B Steel Strip Hot-Rolled Carbon

- ASTM A-513: Carbon Steel Mechanical Tubing.

- ASTM Grade-36 Carbon Steel.

- ANSI/NAAMM MBG 532-19: Heavy-Duty Metal Bar Grating Manual.

  - Action Submittals

- Product Data: The contractor shall submit the manufacturer’s catalog pages including load tables, anchor details and standard installation details.

- Shop Drawings: The contractor shall submit for approval shop drawings for the fabrication and erection of all gratings, based on construction drawings of current issue. Include plans, elevations, and details of sections and connections as required. Show type and location of all fasteners.

- Samples of grating and anchorage system shall be submitted for approval.

  - Quality Assurance

- Manufacturer Qualification: A company specializing in the manufacture of metal bar gratings with not less than 10 years of documented experience.

- Fabrication tolerances shall be in accordance with applicable provisions and recommendations of ANSI/NAAMM MBG 532-19: Heavy-Duty Metal Bar Grating Manual.

Part 2: Products

2.1 Source Requirements:

Design is based upon use of gratings as manufactured by Ohio Gratings, Inc. and terminology used herein may include reference to the specific performance or product of this manufacturer. Such reference shall be construed only as establishing the quality of materials, operational features and workmanship used under this section and shall not, in any way, be construed as limiting competition.

2.2 Manufacturers:

Acceptable manufacturers include Ohio Gratings, Inc. (5299 Southway St. SW, Canton, Ohio 44706, 800-321-9800, www.ohiogratings.com) or approved equal.

  - Manufactured Units:

- Description: Heavy-Duty Grade 50 Carbon Steel Wheels n’ Heels Metro® Grating type 28-WH-4 with OnGrip® Spray Traction Surface or ALGRIP® Traction Surface and a Galvanized finish. Tubular steel cross bars are assembled through round holes in rectangular bearing bars and filler bars. The bars are then permanently locked in place by a swaging process. Heavy-duty (1” deep x 1/8” thick) cross bars are then inserted in slots in the main bearing bars (beneath the filler bars) and fillet welded at the intersection of each main bearing bar and heavy-duty cross bar.

- Bar Spacing: 7/16” on center at top surface.

- Bearing/Filler Bar Thickness: 3/16” to provide 1/4” space between bars.

- Main Bearing Bars Spacing: 1- 3/4” on center

- Cross Bar Spacing: 4” on center.

- Main Bearing Bars Depth: based on span and loading requirements

- Top Surface bars shall have OnGrip® Spray Traction Surface or ALGRIP® Traction Surface.

- Fabrication:  Load Weld Band ends of grating with bars of the same thickness as main bearing bars. Banding bars shall be welded flush with the top surface of the grating and be 1/2” less than the depth of the main bearing bars (as shown on the drawings). Include welded anchor blocks flush with the top surface with counter sunk hole to accept washer and attachment bolts (or include attachment system shown on drawings).

- Steel Frames: Carbon Steel ASTM Grade-36 frames to match the gratings shall be provided as shown on contract drawings to support and attach gratings. Include anchors as shown for locking frame into concrete as shown on the plans. Galvanize frames after fabrication per ASTM A-123.

- Design Criteria:

  - Loading: Unless shown otherwise on the contract drawings, gratings shall be designed and manufactured to meet live load conditions of AASHTO HS-20 with 30% impact factor. Main bearing bar depth shall be as shown in contract drawings or as recommended by the manufacturer to meet loading requirements and clear span conditions.

  - Traction / Slip-Resistance: When tested per ANSI A326.3-2017, the top surface shall provide a minimum Wet Dynamic Coefficient of Friction (Wet DCOF) of 0.45 to meet high traction classification. Per ADA Section 302.1, walking surfaces shall provide a slip-resistant surface with sufficient frictional counterforce to the forces exerted in walking to permit safe ambulation.

  - Top Surface Bar Orientation: Per ADA section 302.3, gratings shall be oriented with top surface bars perpendicular to the predominate direction of pedestrian travel.

- Materials: Main bearing bars are carbon steel type ASTM A-1011 Structural Steel Grade 50. Banding bars are carbon steel type ASTM Grade 36. Top surface filler bars and heavy-duty cross bars shall have mechanical properties equal to, or greater than the performance of carbon steel type ASTM-A-1011 CS Type B.  Steel tube cross bars are type ASTM A-513.

- Fabrication Tolerances shall be in accordance with ANSI/NAAMM MBG 532-19: Heavy-Duty Metal Bar Grating Manual.

- Top Surface: OnGrip® Spray Traction Surface or ALGRIP® Traction Surface shall be included in order to meet or exceed Wet Dynamic COF requirements of paragraph 2.3 D.2 above.

- Finish: Gratings and frames shall be Hot-Dip Galvanized per ASTM A-123.

2.4 Accessories:

Provide appropriate fasteners for type, grade, and class required for approved anchorage system. Include lifting devices and all other accessories as shown on the drawings.

Part 3: Execution

3.1 Field Verification:

Take field measurements prior to preparation of final shop drawings (and fabrication where required) to ensure proper fitting of the work.

  - Installation

- Prior to grating installation, contractor shall inspect supports for correct alignment and conditions for proper attachment and support of the gratings. Metal shall be used for all grating supports and provide the minimum bearing surface for the depth of grating per ANSI/NAAMM MBG 532-19: Heavy-Duty Metal Bar Grating Manual. Ends of all bearing bars at cutouts for penetrations are to be supported in like manner. Any inconsistencies between contract drawings and supporting structure deemed detrimental to grating placement shall be reported in writing to the engineer, architect or owner’s agent prior to placement.

- Install grating in accordance with shop drawings and standard installation clearances as recommended by ANSI/NAAMM MBG 532-19: Heavy-Duty Metal Bar Grating Manual.

3.3 Grating Attachment:

Use approved attachment system and fasteners to secure grating to supporting members as shown on plans.